<INSERT ORGANISATION NAME> FLAMMABLE LIQUIDS DECANTING CHECKLIST

| FLAMMABLE LIQUIDS DECANTING CHECKLIST |  |  |  |
| --- | --- | --- | --- |
| Management Action | Yes | No | Comment |
| Is a procurement policy in place to minimise the volumes of flammable liquids held on site? |  |  |  |
| Have all decanting operations within the business been identified? |  |  |  |
| Are all processes assessed in line with COSHH/DSEAR? |  |  |  |
| Where practicable, has the use of flammable liquids been eliminated? |  |  |  |
| Are all flammable liquids stored in purpose-designed containers? |  |  |  |
| Does the general risk assessment include measures necessary for the safe handling of flammable liquids? |  |  |  |
| Does the fire risk assessment specifically address handling, storage and use of flammable liquids? |  |  |  |
| Are closed, purpose-designed containers provided for the movement of flammable liquids on site? |  |  |  |
| Are all sources of ignition identified and controlled? |  |  |  |
| Are emergency procedures in place to deal with spillage or release of a flammable liquid? |  |  |  |
| Are all staff appropriately trained and competent to handle, use or store flammable liquids? |  |  |  |
| Are monitoring procedures in place to ensure staff work to procedures and guidelines? |  |  |  |
| Are all storage areas appropriately signed indicating the content and volume of flammable liquids? |  |  |  |
| Are reporting structures in place which identify and remedy defects? |  |  |  |
| Is the integrity of control measures monitored and audited with full reports fed back into the management team? |  |  |  |
| Are emergency procedures established to deal with fire and explosion? |  |  |  |
| Where established as necessary, or there is uncertainty, have procedures been established for measuring concentrations of flammable vapour present? |  |  |  |
| Are clear procedures established for the holding of waste materials containing or contaminated with flammable liquids? |  |  |  |
| Are all flammable liquids disposed of through an authorised waste chain? |  |  |  |